Department of Shalyatantra

| S.No. | Name of Instrument & Equipment | Quantity |
| --- | --- | --- |
| Operation Theater Instrument List |  |  |
|  | Spot light (Shadowless ceiling fitted) | 02 |
|  | Needle holding Forceps (big- medium-small) | 06 |
|  | Dressing drums of Assorted size | 10 |
|  | Drum stand | --- |
|  | IV Stand | 05 |
|  | X-ray View Box (double) | 01 |
|  | Surgeon’s gown | 24 |
|  | Mask and caps | 25 |
|  | Gauze, cotton and Bandage | As required |
|  | Gloves of different size | As required |
|  | Cheetles Forceps | 06 |
|  | Towel Clips | 06 |
|  | Mosquito forceps | 12 |
|  | Scissors straight (Tailor) | 01 |
|  | Scissors curved of different sizes | 06 |
|  | Stitch removal Scissors | 02 |
|  | Dissection forceps | 06 |
|  | Sinus Forceps | 01 |
|  | Probes - Assorted size | 02 |
|  | Pointed scissors | 02 |
|  | Gastric and Intestinal clamps (occlusive and crushing) | 04 |
|  | Abdominal Retractors | 06 |
|  | Tissue Forceps | 06 |
|  | Bob Kock’s Forceps | 06 |
|  | Kocher’s Forceps | 06 |
|  | Urethral Dilators | 01 |
|  | Rubber catheters of Assorted size | 06 |
|  | Metal Catheters | 01 |
|  | Corrugated Rubber drain | 02 |
|  | Suturing Needle (straight/curved) of Assorted size | 12 |
|  | Surgical Thread | 20, 40, 60, 80 - one each. |
|  | Sponge holding forceps | 06 |
|  | Right Angle cholecystectomy Forceps | 02 |
|  | Stone holding forceps | 02 |
|  | Allies Forceps small | 12 |
|  | Allies Forceps Big | 06 |
|  | Artery Forceps small | 12 |
|  | Artery Forceps big | 12 |
|  | Artery Forceps medium | 12 |
|  | Sigmoidoscope -Rigid/flexible | 01 |
|  | Barron Pile’s Gun | 01 |
|  | Laryngoscope Pediatric/Adult | 01 |
|  | Boyles Apparatus | 01 |
|  | Multiparameter Monitor | 01 |
|  | Ambu Bag | 01 |
|  | Suction machine Electrical/Manual | 01 |
|  | Generator (Minimum 30 KV) | 01 |
|  | Emergency light | 01 |
|  | Fire Extinguisher | 01 |
|  | Skin grafting knife with handle | 01 |
|  | Surgical blades of different numbers | As required |
|  | BP Handle of different size | 06 |
|  | Vertical BP Instrument | 01 |
|  | Self Retaining Retractor | 02 |
|  | Bone Drill Machine | 01 |
|  | Bone cutter | 02 |
|  | Giggly Saw | 01 |
|  | Scoop | 02 |
|  | Periosteum elevator | 02 |
|  | Maggler Forceps | 02 |
|  | High Pressure Autoclave | 01 |
|  | Fumigator | 01 |
|  | Refrigerator | 01 |
|  | Nitrous Oxide Cylinder | 02 |
|  | Hydrolic Operation Table | 01 |
|  | Shadowless lamp ceiling | 01 |
|  | Anaesthesia Trolley/ Boyle’s Apparatus | 01 |
|  | Instrument Trolley | 02 |
|  | Endotracheal Tube | Different size – one each. |
|  | Proctoscope with or without illumination | 03 |
|  | Revolving Stool | 02 |
|  | Gabrial Syringe | 01 |
|  | Stretcher with trolley | 01 |
|  | Mosquito Forceps | 12 |
|  | Needle holder | 06 |
|  | BP Apparatus | 01 |
|  | Suction Machine | 01 |
|  | Tailor Scissor | 02 |
|  | Sinus Forceps | 04 |
|  | Fistula Probe | 15 |
|  | Abdominal Retractor | 03 |
|  | Right Angle Cholesystectomy Forceps | 03 |
|  | Stone Holding Forceps | 03 |
|  | Barron Piles Gun | 01 |
|  | Ambu Bag | 01 |
|  | Stretcher with Trolley | 02 |
|  | Periostum Elevator | 01 |
| OPD Instrument List |  |  |
| 1 | X-Ray view box | 2 |
| 2 | Photo Album | 1 |
| 3 | Thermometer | 4 |
| 4 | Stapler | 1 |
| 5 | Calculator | 1 |
| 6 | Scale | 1 |
| 7 | BP Apparatus | 2 |
| 8 | Stethoscope | 2 |
| 9 | Dressing Tray | 1 |
| 10 | Dressing Trolley with Cupboard | 1 |
| 11 | Stainless steel Tray | 1 |
| 12 | Plastic Tray | 1 |
| 13 | Gloves Jar | 1 |
| 14 | Dressing Material Jar | 1 |
| 15 | Chattel Forceps | 1 |
| 16 | Procto Scope | 4 |
| 17 | Tooth Forcep | 1 |
| 18 | Fistula Probe | 1 |
| 19 | Scissor | 1 |
| 20 | Artery Forceps | 3 |
| 21 | Surgical Blade | 4 |
| 22 | Torch | 2 |
| 23 | Eye Towel | 1 |
| 24 | Instruments for anorectal examination | 3 |